BEFORE THE KANSAS DEPARTMENT OF AGRICULTURE

DIVISION OF WATER RESOURCES

IN THE MATTER OF

NAME

File No(s).

ORDER REQUIRING INSTALLATION OF WATER FLOWMETERS

IN THE SMOKY HILL RIVER AND CHAPMAN CREEK BASINS

The Chief Engineer, Division of Water Resources, Kansas Department of Agriculture, under authority of Kansas Statutes Annotated (K.S.A.) 82a-701 et seq., after due consideration, hereby makes the following Findings and Order:

FINDINGS OF FACT

1.     	Installation of totalizing water flowmeters on all surface water and groundwater points of diversion located within the Smoky Hill River Basin and the Chapman Creek Basin,  with the exception of those points of diversion used solely for domestic purposes or authorized by temporary permits, will provide accurate water use data to enable the Chief Engineer to manage the water resources of the State, and will enable holders of water rights to report their water use accurately and in a timely manner, as required by K.S.A. 82a-732.

2.     Installation of totalizing water flowmeters on all surface water and groundwater points of diversion located within the Smoky Hill River Basin and the Chapman Creek Basin, with the exception of those points of diversion used solely for domestic purposes or authorized by temporary permits, will implement elements of the Kansas Water Plan, which recommends the installation of water flowmeters on all non-domestic points of diversion.

3.	The points(s) of diversion authorized by the Water Right(s), Appropriation(s) of Water or Term Permit(s) identified above is/are within the Smoky Hill River Basin and/or Chapman Creek Basin and is/are not used solely for domestic purposes or authorized by a temporary permit(s).

CONCLUSIONS OF LAW

4.	The Chief Engineer is required to control, conserve, regulate, allot, and aid in the distribution of the water resources of the State pursuant to K.S.A. 82a-706.

5.	     The Chief Engineer is authorized, pursuant to K.S.A. 82a-706c, to require the installation of water flowmeters and has adopted minimum specifications for such meters.  K.S.A. 82a-706c also authorizes the Chief Engineer to require water users to report the reading of such meters at reasonable intervals.

ORDER

NOW, THEREFORE, it is the decision and order of the Chief Engineer, Division of Water Resources, Kansas Department of Agriculture:

- That the owner of the Water Right(s), Appropriation(s) of Water or Term Permit(s) identified in this order shall install a totalizing water flowmeter which meets or exceeds specifications adopted by the Chief Engineer on each authorized point of diversion, including each reservoir, no later than September 1, 2017.

- The totalizing water flowmeter shall be maintained in operating condition satisfactory to the Chief Engineer as set forth in K.A.R. 5-1-8.

- The owner of the Water Right(s), Appropriation(s) of Water or Term Permit(s) shall notify the Chief Engineer, in writing, within 30 days of completion of the meter installation required under this order.  Such notice shall be provided on a Notice of Completion of Diversion Works and/or Report of Flowmeter Installation form obtained from the Division of Water Resources.

9.	If a water flowmeter was installed on any point of diversion included within this order prior to the date of this order, the owner shall notify the Chief Engineer, in writing, by February 1, 2017. Such notice shall be provided on the enclosed form Smoky Hill River and Chapman Creek Basins Meter Order REPORT OF INSTALLATION OF WATER FLOWMETER.  Any water flowmeter installed prior to this order, installed according to specifications of K.A.R. 5-1-4 through 5-1-12 and maintained in accordance with those specifications, shall be considered in compliance with this order unless the meter’s accuracy is in question.

10.	The owner of the Water Right(s), Appropriation(s) of Water or Term Permit(s) shall report on the annual water use report, pursuant to K.S.A. 82a-732 and K.A.R. 5-3-5e, by March 1 following the end of the calendar year in which the meter was installed, the following information:

A) Usage for the portion of the year in which the diversion was not metered; and

B) Beginning and ending meter readings for the portion of the year in which the diversion was metered.

The owner shall report meter readings only each subsequent year on the annual water use report thereafter.

11.	The conditions of this order requiring installation, maintenance and use of water flowmeters shall become conditions of the Water Right(s), Appropriation of Water or Term Permit(s) identified in this order.

12.	This order contains terms, conditions, and limitations imposed by the Chief Engineer on the referenced Water Rights(s), Appropriation(s) of Water or Term Permit(s).  Failure to comply with the provisions of this order may result in civil penalties of up to $1000 per day of violation and/or the modification or suspension of the water right or use of water under this water right or appropriation of water permit pursuant to K.S.A. 82a-737.

13.	This is a final agency action as defined in K.S.A. 77-607(b) (2).  You may pursue judicial review of this order as provided in the Kansas Act for Judicial Review (K.S.A. 77-601 et seq.).  A petition for judicial review must be filed in a Kansas court of competent jurisdiction within 30 days after service of this order as provided in K.S.A. 77-613.  The agency officer designated to receive service of a petition for judicial review on behalf of the Kansas Department of Agriculture is Chief Legal Counsel, Kansas Department of Agriculture, 1320 Research Park Drive, Manhattan, Kansas 66502.

Dated at Topeka, Kansas, this 26th day of September, 2016.

David W. Barfield, P.E.									 			Chief Engineer

Certificate of Service

I hereby certify that on the, a true and correct copy of the foregoing order was deposited in the U.S. Mail, first class postage prepaid, addressed to the following:

«First_Name» «Last_Name»

«Address_Line_1»

«Address_Line_2»

«City» «State» «Zip»

_______________________________

Staff